## Disclaimer
Important notice
AEMO Services Limited (AEMO Services) publishes the 2023 Infrastructure Investment Objectives Report (IIO Report) pursuant to its functions as Consumer Trustee under section 45(1)(2) of the Electricity Infrastructure Investment Act 2020 (NSW). The contents of this excel document are for information purposes only. This document is not intended to provide any advice or imply any recommendation or opinion constituting advice. This document may include inputs and assumptions that are not necessarily current as at the date of publication. AEMO Services has taken care in the preparation of the information contained or referred to in this document but cannot guarantee its accuracy or completeness. Accordingly, to the maximum extent permitted by law, AEMO Services and its officers, employees and consultants involved in the preparation of this document: • do not give any warranty or make any representation, express or implied, as to the completeness, accuracy, adequacy or correctness of the information contained or referred to in this document; and • expressly disclaim any and all liability relating to or resulting from: the use of, or reliance on, such information by any person; or the exercise of any discretion, or the making of any decision, by AEMO Services as the Consumer Trustee in relation to the information contained or referred to in this document. Copyright © 2023 AEMO Services Limited. The material in this publication may be used in accordance with the copyright permissions on AEMO Services’ website.

## Version History
2023 Infrastructure Invesment Objectives Report: Chart Data
Please note that the data format may need to be adjusted in order to view the data to the level of fidelity required. For example, you may need to format the cell to a more appropriate number of decimal places in some cases as desired.
Version History
Version Number | Description
v1.0 | Initial release in line with Draft 2023 IIO Report

## Figure 1 and Figure 10
Figure 1 and 10 |  |  | Draft Development Pathway - Cumulative (Generation)
Financial Year (ending) | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043
Cumulative development pathway for generation (GWh p.a.) | 5547.0423 | 12898.0952 | 16622.9048 | 22017.7177 | 27343.8752 | 33236.6578 | 35662.2896 | 42770.3068 | 50046.3771 | 57427.3382 | 63488.2234 | 66217.564 | 66309.5859 | 69841.3685 | 75990.8751 | 82403.8581 | 82538.4794 | 86066.4139 | 92175.7446 | 99788.8848

## Figure 2 and Figure 20
Figure 2 and Figure 20 |  | Draft 10-Year Plan (Generation)
Quarter and Year | Q2 2023 | Q4 2023 | Q2 2024 | Q4 2024 | Q2 2025 | Q4 2025 | Q2 2026 | Q4 2026 | Q2 2027 | Q4 2027 | Q2 2028 | Q4 2028 | Q2 2029 | Q4 2029 | Q2 2030 | Q4 2030 | Q2 2031 | Q4 2031 | Q2 2032 | Q4 2032
Generation 10 Year Plan | 2500 | 3000 | 3000 | 3000 | 3000 | 3000 | 3000 | 3000 | 3000 | 3000 | 3000 | 3000 | 3000 | 3000 | 3000 | 3000 | 3000 | 3000 | 3000 | 3000

## Figure 3 and Figure 13
Figure 3 and Figure 13 |  |  | Draft Development Pathway - Cumulative (Long-duration storage)
Financial Year (ending) | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043
Cumulative long-duration storage capacity (MW) | 1.423e-05 | 1.665e-05 | 7.216e-05 | 7.305e-05 | 325.0001 | 325.0001 | 2000 | 2000 | 2000.0001 | 2000.0001 | 2000.0001 | 2000.0002 | 2000.0002 | 2102.9121 | 2500.0002 | 2500.0003 | 2500.0005 | 2500.0005 | 2500.0005 | 2500.0005

## Figure 4 and Figure 21
Figure 4 and Figure 21 |  | Draft 10-Year Plan (Long-duration storage)
Year | Q2 2023 | Q2 2024 | Q2 2025 | Q2 2026 | Q2 2027 | Q2 2028 | 2029 | 2030 | 2031 | 2032
LDS 10 Year Plan | 550 | 1000 | 1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0
LDS contingent tenders | 0 | 0 | 0 | 1000 | 1000 | 1000 | 0 | 0 | 0 | 0

## Figure 5 and Figure 16
Figure 5 and Figure 16 |  |  | Draft Development Pathway - Cumulative (Firming)
Financial year (ending) | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043
Cumulative Firming Capacity (MW) | 0 | 0 | 376 | 376 | 376 | 376 | 376 | 376 | 376 | 376 | 376 | 376 | 376 | 376 | 376 | 376 | 1966 | 1966 | 1966 | 1966

## Figure 6 and Figure 22
Figure 6 and Figure 22 |  |  | Draft 10-Year Plan (Firming)
Financial year (ending) | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032
Firming 10 Year Plan | 380 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## Figure 8
Figure 8 |  |  | Installed Capacity in NSW
Financial Year (Ending) | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043
Black Coal | 8330 | 8330 | 5450 | 5450 | 4130 | 3445 | 2760 | 2760 | 2760 | 2760 | 1390 | 1390 | 1390 | 1390 | 1390 | 1390 | 0 | 0 | 0 | 0
Existing Dispatchable Capacity | 5367.999 | 5367.999 | 5367.999 | 5367.999 | 5367.999 | 5367.999 | 5367.999 | 5367.999 | 5367.999 | 5367.999 | 5367.999 | 5367.999 | 5367.999 | 5367.999 | 5367.999 | 5367.999 | 5367.999 | 5367.999 | 5367.999 | 5367.999
Firming Infrastructure | 0 | 0 | 376 | 376 | 376 | 376 | 376 | 376 | 376 | 376 | 376 | 376 | 376 | 376 | 376 | 376 | 1966 | 1966 | 1966 | 1966
Large Scale Storage (excl. LDS) | 440 | 590 | 823.6 | 823.6 | 2183.6 | 2863.6 | 2863.6 | 3563.6 | 3563.6 | 3563.6 | 3563.6 | 3562 | 3566.8 | 3566.8 | 3566.8 | 3565.2 | 3565 | 3563.6 | 3565.2 | 3565.2
LDS Infrastructure | 1.423e-05 | 1.665e-05 | 7.216e-05 | 7.305e-05 | 325.0001 | 325.0001 | 2000 | 2000 | 2000.0001 | 2000.0001 | 2000.0001 | 2000.0002 | 2000.0002 | 2102.9121 | 2500.0002 | 2500.0003 | 2500.0005 | 2500.0005 | 2500.0005 | 2500.0005
Distributed Storage | 649.072 | 998.213 | 1345.775 | 1687.9293 | 2028.245 | 2382.088 | 2948.458 | 3569.6833 | 4240.1826 | 4996.621 | 5920.2291 | 6876.185 | 7812.6175 | 8742.013 | 9605.2393 | 10414.4598 | 10977.3917 | 11470.5783 | 11887.8517 | 12310.2427
Wind | 2206.842 | 3574.942 | 4466.132 | 6425.382 | 8185.772 | 9997.232 | 10745.502 | 12416.312 | 13768.842 | 16063.352 | 16326.152 | 16454.772 | 16454.952 | 17264.102 | 18847.962 | 19556.68 | 19536.432 | 19400.24 | 20522.452 | 21767.812
Solar | 3631.967 | 4785.087 | 5231.717 | 5231.717 | 5231.717 | 5231.717 | 5232.617 | 6126.197 | 7520.541 | 7520.541 | 9736.411 | 10818.231 | 10818.231 | 11415.141 | 12211.511 | 13916.404 | 13901.391 | 15131.661 | 16338.211 | 18075.276
Distributed PV | 6922.7278 | 7730.1558 | 8520.6213 | 9270.916 | 9991.0548 | 10709.4737 | 11436.4432 | 12170.0293 | 12901.8102 | 13643.2719 | 14388.327 | 15121.2532 | 15810.1091 | 16449.2428 | 17061.911 | 17667.5949 | 18262.5884 | 18847.5107 | 19429.6702 | 20006.0115
Peak Demand | 13859.0296 | 13933.1598 | 14116.6102 | 14262.982 | 14445.001 | 14721.4202 | 14909.7472 | 15139.2798 | 15382.2095 | 15668.601 | 16061.3063 | 16301.1429 | 16569.3602 | 16737.6977 | 17009.8827 | 17340.3624 | 17597.0482 | 17938.6903 | 18124.0079 | 18270.27

## Figure 9
Figure 9 |  |  | Draft Development Pathway - Annual (Generation)
Financial Year (ending) | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043
Additional generation | 3702.5306 | 7351.0529 | 3724.8096 | 5394.8129 | 5326.1576 | 5892.7825 | 2425.6319 | 7108.0172 | 7276.0703 | 7380.9611 | 6060.8852 | 2729.3406 | 92.0219 | 3531.7826 | 6149.5066 | 6412.983 | 134.6213 | 3527.9346 | 6109.3307 | 7613.1401

## Figure 11
Figure 11 |  |  | Comparison of Draft Development Pathway to 2022 Development Pathway (Generation)
Financial Year (ending) | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043
Draft Development Pathway | 10430.5746 | 12898.0952 | 16622.9048 | 22017.7177 | 27343.8752 | 33236.6578 | 35662.2896 | 42770.3068 | 50046.3771 | 57427.3382 | 63488.2234 | 66217.564 | 66309.5859 | 69841.3685 | 75990.8751 | 82403.8581 | 82538.4794 | 86066.4139 | 92175.7446 | 99788.8848
2022 Development Pathway | 8148 | 11425 | 14625 | 18805 | 23217 | 28567 | 33882 | 36042 | 43679 | 44345 | 44345 | 44345 | 44887 | 45348 | 49035 | 49590 | 50581 | 51137 | 51137 | 51137

## Figure 12
Figure 12 |  |  | Draft Development Pathway - Annual (Long duration storage)
Financial Year (ending) | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043
Annual Long-duration storage development pathway (MW) | 1.423e-05 | 2.42e-06 | 5.551e-05 | 8.9e-07 | 325 | 1.606e-05 | 1674.9999 | 1.71e-06 | 7.804e-05 | 6.847e-05 | 2.2e-07 | 1.68e-05 | 8.9e-07 | 102.9119 | 397.0882 | 1.24e-05 | 0.00019788 | 1.767e-05 | 4.392e-05 | 0

## Figure 14
Figure 14 |  |  | Comparison of Draft Development Pathway to 2022 Development Pathway (Long-duration storage)
Financial Year (ending) | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043
Draft Development Pathway | 1.423e-05 | 1.665e-05 | 7.216e-05 | 7.305e-05 | 325.0001 | 325.0001 | 2000 | 2000 | 2000.0001 | 2000.0001 | 2000.0001 | 2000.0002 | 2000.0002 | 2102.9121 | 2500.0002 | 2500.0003 | 2500.0005 | 2500.0005 | 2500.0005 | 2500.0005
2022 Development Pathway | 0 | 0 | 600 | 600 | 1525 | 1925 | 2175 | 2175 | 2175 | 2175 | 2175 | 2775 | 3375 | 3375 | 3375 | 3375 | 3375 | 3375 | 3375 | 3375

## Figure 15
Figure 15 |  |  | Draft Development Pathway - Annual (Firming)
Financial Year (ending) | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043
Annual firming infrastucture development pathway (MW) | 0 | 0 | 376 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1590 | 0 | 0 | 0

## Figure 17
Figure 17 |  |  | Comparison of Draft Development Pathway to 2022 Development Pathway (Firming)
Financial Year (ending) | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043
Draft Development Pathway | 0 | 0 | 376 | 376 | 376 | 376 | 376 | 376 | 376 | 376 | 376 | 376 | 376 | 376 | 376 | 376 | 1966 | 1966 | 1966 | 1966
2022 Development Pathway | 0 | 0 | 376 | 376 | 376 | 376 | 376 | 376 | 376 | 376 | 376 | 376 | 376 | 376 | 376 | 376 | 376 | 376 | 376 | 376

## Figure 18
Figure 18 |  |  | Scheme (LTESA) cost illustration via an example of revenues and costs for single 100 MW pumped hydro project
Financial Year (ending) | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043
Annual costs | 26.0158 | 24.2561 | 22.408 | 23.1884 | 22.4821 | 22.1759 | 24.5543 | 21.8111 | 22.3733 | 21.1348 | 25.5337 | 22.3805 | 21.9887 | 22.3732
Scheme revenues | 8.7897 | 6.3818 | 5.4754 | 5.5112 | -5.3614 | 8.1893 | -5.2286 | 7.9597 | 8.8645 | 8.2763 | 6.1737 | 5.1374 | 7.2795 | 5.6271
Additional market revenues | 2.2469 | 2.3314 | 2.2086 | 2.3057 | 3.6318 | 1.8243 | 3.8847 | 1.8067 | 1.762 | 1.6772 | 2.5252 | 2.2491 | 1.9186 | 2.1843
Wholesale revenues | 14.9792 | 15.5429 | 14.724 | 15.3715 | 24.2117 | 12.1622 | 25.8982 | 12.0447 | 11.7467 | 11.1813 | 16.8349 | 14.994 | 12.7907 | 14.5618

## Figure 19
Figure 19 |  |  | Annual costs for Central scenario
Financial Year (ending) | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043
Wholesale electricity | 6.5339 | 4.2819 | 6.3696 | 5.8748 | 6.2128 | 5.4195 | 5.3142 | 5.1879 | 4.4052 | 5.1954 | 6.4258 | 5.8677 | 6.6559 | 6.5235 | 5.0322 | 4.78 | 6.9183 | 6.4846 | 6.7257 | 6.2353
Scheme (LTESA) | -0.027129 | -0.050669 | -0.084367 | -0.041035 | -0.055468 | -0.013777 | 0.17947 | 0.23248 | 0.30164 | 0.23542 | 0.15165 | 0.20816 | 0.079372 | 0.18464 | 0.47055 | 0.64557 | 0.28382 | 0.21898 | 0.38251 | 0.47907
Scheme (Transmission) | 0.013197 | 0.016637 | 0.098987 | 0.10353 | 0.25428 | 0.36132 | 0.36477 | 0.29062 | 0.29946 | 0.4021 | 0.41354 | 0.41716 | 0.41716 | 0.41813 | 0.42916 | 0.42953 | 0.42953 | 0.4344 | 0.44594 | 0.47377

## Figure 24
Figure 24 |  |  | Comparison of alternative development pathways (Generation)
Financial year (ending) | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043
Central | 10430.5746 | 12898.0952 | 16622.9048 | 22017.7177 | 27343.8752 | 33236.6578 | 35662.2896 | 42770.3068 | 50046.3771 | 57427.3382 | 63488.2234 | 66217.564 | 66309.5859 | 69841.3685 | 75990.8751 | 82403.8581 | 82538.4794 | 86066.4139 | 92175.7446 | 99788.8848
Early Coal Exit | 10302.0525 | 12769.4343 | 16061.7424 | 21457.7948 | 27455.8071 | 32754.1905 | 35099.7098 | 42233.8902 | 49499.9964 | 56880.2773 | 63010.8933 | 65481.5343 | 65572.0256 | 68443.6534 | 74632.3011 | 81470.3166 | 81594.2757 | 86314.6842 | 93155.7737 | 100222.7422
No Coal by 2030 with Strong Electrification | 10912.9027 | 13780.3771 | 19666.2446 | 25328.4897 | 31348.3258 | 37242.9964 | 41407.1309 | 48345.3849 | 54997.8885 | 62399.1787 | 69821.2111 | 76398.2777 | 84110.8523 | 91602.0282 | 98517.7953 | 106041.2709 | 110769.4049 | 118277.9912 | 124363.1498 | 131883.3821
Transmission Delay | 10585.8198 | 13053.4772 | 16110.9404 | 21708.656 | 25778.8648 | 29775.5035 | 35205.4539 | 42341.0675 | 49247.9982 | 56505.9363 | 64005.2954 | 67735.1737 | 67836.0467 | 71671.2031 | 76922.9253 | 83871.764 | 84000.972 | 87512.1423 | 92934.112 | 99726.0478
2022 Development Pathway | 8148 | 11425 | 14625 | 18805 | 23217 | 28567 | 33882 | 36042 | 43679 | 44345 | 44345 | 44345 | 44887 | 45348 | 49035 | 49590 | 50581 | 51137 | 51137 | 51137

## Figure 25
Figure 25 |  |  | Comparison of alternative development pathways (Long-duration storage)
Financial year (ending) | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043
Central | 1.423e-05 | 1.665e-05 | 7.216e-05 | 7.305e-05 | 325.0001 | 325.0001 | 2000 | 2000 | 2000.0001 | 2000.0001 | 2000.0001 | 2000.0002 | 2000.0002 | 2102.9121 | 2500.0002 | 2500.0003 | 2500.0005 | 2500.0005 | 2500.0005 | 2500.0005
Early Coal Exit | 1.189e-05 | 1.387e-05 | 3.403e-05 | 3.403e-05 | 7.192e-05 | 287.0879 | 2000 | 2000 | 2000.0001 | 2000.001 | 2000.001 | 2000.001 | 2000.001 | 2075.7068 | 2390.0866 | 2391.657 | 2500.0005 | 2500.0005 | 2500.0006 | 2500.0006
No Coal by 2030 with Strong Electrification | 3.47e-05 | 1216.6156 | 1216.6156 | 1216.6156 | 1216.6156 | 1216.6157 | 2000 | 2000 | 2229.1122 | 2229.1122 | 2229.1122 | 2229.1122 | 2229.1123 | 2229.1123 | 2500.0006 | 2500.0007 | 2500.0008 | 2500.0009 | 3000.0006 | 3000.0006
Transmission Delay | 1.475e-05 | 1.734e-05 | 7.141e-05 | 7.892e-05 | 868.063 | 1775.9427 | 2000 | 2000 | 2000.0001 | 2000.0001 | 2000.0001 | 2000.0002 | 2000.0002 | 2000.0002 | 2500.0002 | 2500.0003 | 2500.0003 | 2500.0004 | 2500.0005 | 2500.0005
2022 Development Pathway | 0 | 0 | 600 | 600 | 1525 | 1925 | 2175 | 2175 | 2175 | 2175 | 2175 | 2775 | 3375 | 3375 | 3375 | 3375 | 3375 | 3375 | 3375 | 3375

## Figure 26
Figure 26 |  |  | Comparison of alternative development pathways (Firming)
Financial year (ending) | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043
Central | 0 | 0 | 376 | 376 | 376 | 376 | 376 | 376 | 376 | 376 | 376 | 376 | 376 | 376 | 376 | 376 | 1966 | 1966 | 1966 | 1966
Early Coal Exit | 0 | 0 | 376 | 376 | 376 | 376 | 376 | 376 | 376 | 376 | 376 | 376 | 376 | 376 | 376 | 376 | 1966 | 1966 | 1966 | 1966
No Coal by 2030 with Strong Electrification | 0 | 0 | 376 | 1329.66 | 1736.91 | 1736.91 | 1736.91 | 1736.91 | 1736.91 | 1736.91 | 1736.91 | 1736.91 | 1736.91 | 1736.91 | 1736.91 | 1736.91 | 1736.91 | 1736.91 | 1736.91 | 1736.91
Transmission Delay | 0 | 0 | 376 | 390.2 | 1323.84 | 1323.84 | 1323.84 | 1323.84 | 1323.84 | 1323.84 | 1323.84 | 1323.84 | 1323.84 | 1323.84 | 1323.84 | 1323.84 | 2118.84 | 2118.84 | 2118.84 | 2118.84
2022 Development Pathway | 0 | 0 | 376 | 376 | 376 | 376 | 376 | 376 | 376 | 376 | 376 | 376 | 376 | 376 | 376 | 376 | 376 | 376 | 376 | 376

## Figure 27
Figure 27 |  |  | Present value of forecast costs by scenario
Scenario | Central | Transmission Delay | Early Coal Exit | No Coal by 2030 with Strong Electrification
Wholesale electricity | 72.6373 | 73.3632 | 74.3165 | 66.8679
Scheme (Transmission) | 3.6351 | 3.5354 | 3.7877 | 4.1824
Scheme (LTESA) | 1.7681 | 2.3061 | 1.4799 | 5.2528

## Figure 28
Figure 28 |  |  | Comparison of modelled NEM-wide emissions profiles
Financial Year (Ending) | 2023-24 | 2024-25 | 2025-26 | 2026-27 | 2027-28 | 2028-29 | 2029-30 | 2030-31 | 2031-32 | 2032-33 | 2033-34 | 2034-35 | 2035-36 | 2036-37 | 2037-38 | 2038-39 | 2039-40 | 2040-41 | 2041-42 | 2042-43
Central | 34633866.3205 | 31596027.6432 | 26843326.9263 | 24330234.22 | 18511407.7047 | 15408030.1055 | 12465387.5959 | 11976826.5855 | 10930113.4874 | 11498887.9458 | 6359727.081 | 6404310.8773 | 6885245.3004 | 6407427.2455 | 5882280.7032 | 5506681.6614 | 1346413.3218 | 1536613.5486 | 1367802.1624 | 1159757.0289
Early Coal Exit | 34688650.3305 | 31798859.7681 | 26994671.7871 | 24233513.3336 | 18200042.9741 | 14925211.4599 | 12371624.6021 | 7659626.7125 | 6648549.6407 | 6852536.8865 | 6634250.4622 | 6714171.2775 | 7282504.3661 | 6795631.614 | 5867340.7374 | 5532818.5994 | 1352663.1104 | 1518276.9846 | 1333731.1918 | 1126697.651
No Coal by 2030 with Strong Electrification | 35528872.9435 | 27451213.6014 | 24432147.97 | 15263050.7432 | 7762334.3711 | 6059387.7951 | 6143401.0689 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Transmission Delay | 34578263.0247 | 31350221.6357 | 26806116.5211 | 24592802.4034 | 19126720.1583 | 16002294.5693 | 12694638.164 | 11760622.3322 | 10935602.3646 | 11635696.5233 | 6534473.4782 | 6413868.8481 | 6877361.0419 | 6537350.3559 | 5932086.5304 | 5774805.1848 | 1343143.6243 | 1504667.2152 | 1345007.1617 | 1151284.0062